ELC 112 Mid-Term Exam

Select which of the following are main types of electrical injuries? (select all that apply)

Electrocution*

Burns*

Broken bones

Cancer

points:1.00

True or False: electric shock can cause a fall.

True*

False

points:1.00

Which of the following is not a general safety rule when it comes to electrical safety?

Think

Avoid Horseplay

Do not work alone

Don't wear rubber-soled shoes*

points:1.00

Which of the following is not a basic part of an atom?

Proton

Neutron

Automaton*

Electron

points:1.00

Which part of the atom is responsible for the electrical characteristics of a material?

Proton

Neutron

Electron*

Nucleus

points:1.00

What does resistance in an electrical circuit represent?

The ease of current flow through a circuit

The restriction of the flow of electrons*

The generation of heat within a circuit

The increase in the speed of electrons

points:1.00

Which of the following is the unit of conductance?

Ohm (Ω)

Ampere (A)

Siemens (S)*

Volt (V)

points:1.00

True or False: If the current is constant, voltage and resistance are directly proportional.

True*

False

points:1.00

Resistance and current are _______________

Directly proportional

Inversely proportional*

Not related

Similar to voltage

points:1.00

Which of the following is not an electrical property that a digital multimeter will measure?

Electrical potential

Resistance

Current

Frequency*

points:1.00

How is frequency measured by?

Ohms

Voltage

Kilowatts

Hertz*

points:1.00

True or False: filters allow certain frequencies to pass while blocking others.

True*

False

points:1.00

What is the maximum current resistors can handle without overheating?

Tolerance

Apex Point

Power Rating*

Maximum Resistance

points:1.00

In a capacitor, the two conductors are separated by what?

Insulator*

Stuffing

A de-energized conductor

Resistor

points:1.00

True or False: all materials have the same dielectric constant.

True

False*

points:1.00

True or False: a transformer consists of two wire coils wound on a core?

True*

False

points:1.00

How efficient are modern transformers?

95-100%

80-85%

90-95%*

85-90%

points:1.00

Type A NEMA design motors are used for which of the following?

Fans*

Conveyors

Hoists

Cranes

points:1.00

Type D NEMA design motors are used for which of the following?

Fans

Pumps

Blowers

Elevators*

points:1.00

Match the electrical term with its definition:

Current - the movement of electrical charge

Resistance - opposition to current flow

Voltage - a measure of electrical force

Conductors - substances, such as metals, that have little resistance to electricity

Insulators - substances, such as wood, rubber, glass, and bakelite, that have high resistance to electricity

Grounding - a conductive connection to the earth which acts as a protective measure

points:6.00

Match the overvoltage protection category to its description.

CAT I - Connections to circuits in which measures are taken to limit transient overvoltage’s to an appropriately low level.

CAT II - Energy-consuming equipment to be supplied from a fixed installation.

CAT III - In fixed installations and for cases where the reliability and the availability of the equipment is subject to special requirements.

CAT IV - Connections at the utility or origin of installation, and all outside connections.

points:1.00

Match the type of power with its definition:

True Power - product of voltage and current in pure resistive circuit

Reactive Power - power used by reactive components in inductive circuit

Apparent Power - power that is consumed by circuit

points:1.00

Describe how the Lock Out/Tag Out process works.

points:1.00

Describe the differences between parallel arc and series arc faults.

points:1.00

What is the smallest part of an element.

points:1.00

Define Voltage.

points:1.00

Define OHM.

points:1.00

Describe how three phase electricity works

points:1.00

What are phantom voltages?

points:1.00

What is instantaneous voltage?

points:1.00

How does a potentiometer control current?

points:1.00

Define working voltage.

points:1.00

What do circuit boards do?

points:1.00

Describe the difference between primary winding and secondary winding?

points:1.00