ELC-112 Final Exam Questions and Answers

Which of the following is not a main type of electrical injury?

Electrocution

Burns

Electrical Shock

Falls

Amputations*

points:1.00

True or False: electrical burns typically occur on the feet.

True*

False

points:1.00

Never work on an energized circuit if the power can be disconnected

Think

Avoid horseplay

Do not work alone

Work with both hands when possible*

points:1.00

What is the process of an electron leaving the outer orbit of an atom?

Atomization

Ionized*

Lionized

Electrical Shock

points:1.00

Power, in electric circuits, can be defined as:

The rate of motion is exerted over time

The rate current flows over time

The rate voltage is applied over time

The rate energy is used over time*

points:1.00

True or False: all electrical testing tools are appropriate for all situations?

True

False*

points:1.00

How is frequency measured by?

Ohms

Voltage

Kilowatts

Hertz*

points:1.00

In a schematic of a circuit, what does the letter L represent?

Resistance

Voltage

Inductance*

Impedance

points:1.00

What is the maximum current resistors can handle without overheating?

Tolerance

Apex Point

Power Rating*

Maximum Resistance

points:1.00

True or False: capacitance is the measure of opposition to change in voltage

True*

False

points:1.00

An isolation transformer has a what ratio?

2:1

1:1*

1:2

2:2

points:1.00

How many coils do autotransformers use?

Two

Three

Four

One*

points:1.00

What part of the motor causes current to flow?

Stator

Rotor*

Valves

Fan Belt

points:1.00

What is not a function of basic motor controls?

Start and stop loads

Perform sequence of events

Control output relative to input

Automatically control system

All answers listed are functions*

points:1.00

True or False: fuses can be used multiple times.

True

False*

points:1.00

What type of contact provides infinite resistance when open?

Hard Contacts*

Momentary Contacts

Maintained Contacts

points:1.00

Up to how many positions can switches have?

One

Four*

Two

Three

points:1.00

True or False: ladder diagrams show exact wiring.

True

False*

points:1.00

Who published the national electric code?

OSHA

Department of Labor

National Fire Protection Association*

Department of Health

points:1.00

True or False: a DC power supply is a device that uses AC from a higher-voltage source and converts it to DC voltage appropriate to the circuitry requiring DC Power.

True*

False

points:1.00

Match the electrical term to its definition.

Current - Movement of electrical charge

Resistance - Opposition to current flow

Voltage - A measure of electrical force

Conductors - Substances, such a metals, that have little resistance to electricity

Insulators - Substances such as wood, rubber, and glass that have high resistance to electricity

points:1.00

Match the overvoltage protection category to its description.

CAT I - Connections to circuits in which measures are taken to limit transient overvoltage’s to an appropriately low level.

CAT II - Energy-consuming equipment to be supplied from a fixed installation.

CAT III - In fixed installations and for cases where the reliability and the availability of the equipment is subject to special requirements.

CAT IV - Connections at the utility or origin of installation, and all outside connections.

points:1.00

Match the type of power with its definition:

True Power - product of voltage and current in pure resistive circuit

Reactive Power - power used by reactive components in inductive circuit

Apparent Power - power that is consumed by circuit

points:1.00

Explain the steps of a lock/out, tag/out procedure.

points:1.00

Which of the following is not a general electrical safety rule?

points:1.00

What is a coulomb?

points:1.00

Define voltage.

points:1.00

Define ohm.

points:1.00

Define watt.

points:1.00

What does an ohmmeter do?

points:1.00

What is synchronous speed?

points:1.00

Describe the difference between normally open and normally closed input devices.

points:1.00

What are highway diagrams used for.

points:1.00

What is a filter capacitor?

points:1.00

Define half-wave rectification?

points:1.00

Describe how a bipolar junction transistor works?

points:1.00

What is a linear integrated circuit.

points:1.00