ELC 117 Final Exam Questions and Answers

A(n) ______________ is the smallest particle of an element can be reduced to while still maintaining the properties of that element?

Protons

Quarks

Atoms*

Molecules

points:1.00

What part of the atom has a negative charge?

Neutron

Electron*

Proton

Nucleus

points:1.00

True or False: a conductor is a material that has very little resistance and permits electrons to move through it easily?

True*

False

points:1.00

What is the amount of electrical pressure in a circuit?

Voltage*

Amperage

Hertz

Ohms

points:1.00

What type of device is shown in the image above

Bell

Conductor

Foot Switch

Solenoid*

points:1.00

What type of circuit is shown in the image above?

Double Circuit

Mushroom Head

Single Circuit*

Wobble Stick

points:1.00

True or False: the two most common types of screwdrivers are flathead and Phillips-head?

True*

False

points:1.00

Which of the following is not a logic function?

OR

AND/OR

NOR

OAND*

points:1.00

Up to how many circuit conditions can a joystick have?

4

6

8*

10

points:1.00

Which of the following is not a solenoid selection method?

Push or Pull

Length of Stroke

Dust Cycle*

Mounting

points:1.00

True or False: a transformer is an electric device that uses electromagnetism to change voltage from one level to another.

True*

False

points:1.00

Which of the following is the part of a transformer that draws power from the source.

Secondary winding

Primary winding*

Electrical winding

Iron Core

points:1.00

Which of the following is not a type of transformer loss?

Resistive

Eddy Current

Flow Current*

Hysteresis

points:1.00

True or False: in the delta connection, all three phases are connected in series to form an open loop system?

True

False*

points:1.00

True or False: a manual contactor is a control device that uses pushbuttons to energize or de-energize the load connected to it?

True*

False

points:1.00

Motors are machines that converts electrical energy into mechanical energy by means of _________________ induction.

Magnetic

Electromagnetic*

Heat

Electric

points:1.00

What is the part of a DC motor that rides against the commutator segments and connect the armature to the external circuit?

Slots

Shaft

Brush*

Pigtail

points:1.00

True or False: if applied force does not cause motion, work can still be produced?

True

False*

points:1.00

Which of the following is not a main type of DC motor?

Permanent Magnet

Series

Compound

Parallel*

points:1.00

True or False: single-phase motors are the most common motors used in industrial applications?

True

False*

points:1.00

Which of the following is not a cause of heat buildup in a motor?

Improper cooling

Excessive load

Too little load*

Excessive friction

points:1.00

What is Ohm's Law?

points:1.00

What type of instrument is used to test for a complete path for a current flow without displaying an actual numerical value?

points:1.00

What CAT rating is required for a test instrument used outdoor?

points:1.00

Define electrical shock?

points:1.00

Describe the process for Lockout/Tagout?

points:1.00

Why are numerical cross-reference numbers added to a control circuit?

points:1.00

Why are line numbers added to a control circuit?

points:1.00

Explain what NOR logic is.

points:1.00

What is a flow switch?

points:1.00

What position are most flow switched designed to operate in?

points:1.00

What is the movable part of a solenoid called?

points:1.00

Define what a hysteresis loss is?

points:1.00

What type of electrical service is the most common for residential dwellings?

points:1.00

What do the “X” markings on a transformer represent?

points:1.00

Describe the process of testing control transformers?

points:1.00

What is important to open (break) an electrical circuit as fast as possible?

points:1.00

Why are manual contactors not used to control motors?

points:1.00

Why are silver alloy contacts better then copper contacts?

points:1.00

What happens to a load that was energized when a two-wire control device is used and power is lost and then reapplied?

points:1.00

What three factors determine the amount of force exerted on a conductor in a magnetic field?

points:1.00

What are the labels of the four wires coming out of a DC series motor?

points:1.00

What is the stationary coil of an AC motor called?

points:1.00

What is the rotating coil of an AC motor called?

points:1.00

What does the maximum rated acceleration time of a motor depend on?

points:1.00

How is a motor tested to determine the load of a motor?

points:1.00

How does a reversing manual motor starter prevent the motor from being told to operate simultaneously in both directions?

points:1.00

Can all drive parameters be reprogrammed (changed)?

points:1.00

What are two disadvantages of using a direct hardwiring method?

points:1.00

What is a receptacle tester?

points:1.00