ELC-117 Mid-Term Exam

True or False: all matter consists of atoms.

True*

False

points:1.00

Which of the following is not part of an atom?

Proton

Neutron

Electron

Molecule*

points:1.00

What part of the atom has no electrical charge?

Proton

Neutron*

Electron

Nucleus

points:1.00

True or False: an insulator is a material with an atomic structure that allows few free electrons to pass through it.

True*

False

points:1.00

What is the opposition to the flow of electrons?

Conductance

Amperage

Resistance*

Electricity

points:1.00

What type of power is power absorbed and returned to a load due to its inductor and/or capacitive properties?

Potential Power

Reactive Power*

Kinetic Power

Left Over Power

points:1.00

What type of drawing is a drawing that shows the length, height, and depth of an object in one view?

Pictorial Drawing*

Orthographic Drawing

Blueprint

Sketch

points:1.00

What type of alarm is shown by the image above?

Horn

Buzzer

Bell*

points:1.00

What does the above symbol show?

Disconnect*

Circuit Interrupter

Circuit Breaker With Thermal Oil

Normally Open Limit Switch

points:1.00

What type of limit switch is shown above?

Held Open

Held Closed

Normally Closed

Normally Open*

points:1.00

Which of the following is not a safety rule for electrical power tools?

Review and understand all manufacturer safety recommendations

Clean and lubricate all tools as needed

Ensure that the workpiece is free of obstructions and securely clamped

It is fine to use a power tool with a frayed power cord*

points:1.00

Which of the following is not a type of wrench?

Open-end

Adjustable end

Hammerhead*

Box End

points:1.00

Which of the following is not a type of pliers?

Needle Nose

Groove

Flat nose

Open End*

points:1.00

True or False: safety glasses cover the entire face with a plastic shield.

True

False*

points:1.00

Which of the following is not something a load converts electrical energy to?

Motion

Sound

Light

Dark*

points:1.00

Which of the following is not a logic function?

AND

OR

SORT*

NOR

points:1.00

True or False: Jogging is the frequent starting and stopping of a motor for short periods of time.

True*

False

points:1.00

A solenoid is an electric output device that converts electrical energy into a linear _____________ force?

Mechanical*

Fluid

Electrical

Heat

points:1.00

Which of the following is not a selection method for solenoids

Push or Pull

Required Force

Mounting

Centrifugal Force*

points:1.00

Define what a semiconductor is.

points:1.00

Describe the difference between potential energy and kinetic energy.

points:1.00

What is a series connection?

points:1.00

Describe the molecular theory of magnetism?

points:1.00

What is a continuity tester?

points:1.00

What type of test instrument shows a visual display of the measured value?

points:1.00

Define electrical shock?

points:1.00

What is the difference between a danger signal word and a warning signal word?

points:1.00

Except in an emergency, who is allowed to remove a lockout and/or tagout device?

points:1.00

Define confined space?

points:1.00

When in industry is OR logic used?

points:1.00

How is a lamp added into a control circuit so it is ON anytime the motor is ON?

points:1.00

What is a flush button operator?

points:1.00

What is a limit switch?

points:1.00

What type of limit switch actuator allows detection of a moving object from any direction except head on?

points:1.00

Is a diode used to help protect electrical contacts in a AN or DC load switching circuit?

points:1.00