ELC-117 Quiz Questions and Answers

Module 1 Quiz Questions and Answers

Which of the following is not part of an atom?

Proton

Neutron

Groundtron*

Electron

points:1.00

Which part of an atom orbits the nucleus?

Proton

Electron*

Neutron

points:1.00

What allows free electrons to pass readily through it?

Conductor*

Resistor

Amplifier

points:1.00

True or False: current flows from negative potential to positive potential when voltage is applied to N-type material?

True*

False

points:1.00

Select all of the following that electrical energy is used to produce:

Motion*

Light*

Heat*

Dark

Sound*

Plants

points:1.00

True or False: AC voltage has two phase cycles.

True

False*

points:1.00

Ohm's law is the relationship between voltage, current, and ___________ in a circuit.

Amperage

Frequency

Electricity

Resistance*

points:1.00

True or False: the molecular theory of magnetism states that all substances are made up of a number of molecular magnets that can be arranged in either an organized or disorganized manner.

True*

False

points:1.00

Which of the following will not increase the strength of a magnetic field?

Increasing voltage

Increasing number of coils

Inserting a plastic core through the coil*

Inserting an iron core through the coil

points:1.00

Explain how diodes work.

points:1.00

Name three things that can produce electromagnetism.

points:1.00

Explain why phase shift occurs.

points:1.00

Module 2 Quiz Questions and Answers

What does the above symbol show?

Disconnect*

Circuit Interrupter

Circuit Breaker With Thermal Oil

Normally Open Limit Switch

points:1.00

What is the symbol above showing?

Disconnect

Circuit Interrupter*

Circuit Breaker With Thermal Oil

Normally Open Limit Switch

points:1.00

What type of limit switch is shown above?

Held Open

Held Closed

Normally Closed

Normally Open*

points:1.00

In the flow switch shown above, is it normally open or normally closed?

Normally Open*

Normally Closed

points:1.00

What type of circuit is shown in the image above?

Double Circuit

Mushroom Head

Single Circuit*

Wobble Stick

points:1.00

What is the above symbol showing?

Limit Switch

Disconnect

Limit Coil*

Speed Plug

points:1.00

What type of transformer is shown in the image above?

Air Core

Current

Single Voltage

Auto*

points:1.00

On a schematic, what instrument does the letters VA symbolize?

Varmeter

Voltmeter*

Wattmeter

Ammeter

points:1.00

What type of switch is shown in the image above?

Normally Open

Held Open*

Normally Closed

Held Closed

points:1.00

What type of capacitor is shown in the image above?

Fixed*

Adjustable

Polarized

points:1.00

Module 4 Quiz Questions and Answers

Which of the following is not an affect of electric shock?

Mild sensations

Paralysis

Death

Burns

Coughing*

points:1.00

True or False: during an electrical shock, the body of a person becomes part of an electrical circuit.

True*

False

points:1.00

Ture or False: a warning signal word is a word used to indicate an imminently hazardous situation.

True

False*

points:1.00

Which of the following is not a requirement for arc-related clothing?

Clothing must not ignite and continue to burn

Clothing must be made of polyester*

Clothing must provide insulation value to dissipate heat

Clothing must provide resistance to the break-open forces generated by the shock wave of an arc

points:1.00

How many classes of fire are there?

3

4

5*

6

points:1.00

What class of fire is for fires that include burning metals?

Class A

Class C*

Class D

Class K

points:1.00

Describe the general steps in lockout/tagout.

points:1.00

Define personal protective equipment (PPE)

points:1.00

Describe the differences between safety glasses and face shields.

points:1.00

What is a ground fault circuit interrupter?

points:1.00

Module 5 Quiz Questions and Answers

How many loads can be connected in series per line in a control circuit in which a switch is used to control the load(s)?

points:1.00

Why are line numbers added to a control circuit?

points:1.00

Why are numerical cross-reference numbers added to a control circuit?

points:1.00

Why are reference numbers added to a control circuit?

points:1.00

What type of circuit logic is developed when two NO switches are connected in parallel?

points:1.00

What type of circuit logic is developed when two NO switches are connected in series?

points:1.00

What type of circuit logic is developed when two NC switches are connected in series?

points:1.00

What function does a JOG button perform in a control circuit?

points:1.00

Module 6 Quiz Questions and Answers

What is the best type of pushbutton operator to use in an emergency stop application?

points:1.00

Can one pushbutton operate both NO and NC contacts?

points:1.00

A selector switch with a legend plate labeled slow/fast is an example of what type of selector switch?

points:1.00

In a truth table, an X represent what condition of the contacts?

points:1.00

In a truth table, an O represents what condition of the contacts?

points:1.00

What is the main advantage of using a joystick in an application such as moving the passenger loading ramp to and from an airplane door?

points:1.00

Wha type of limit switch actuator allows the arm length to be adjusted to meet the application?

points:1.00

When a foot switch has three positions, does the toe usually operate all three positions?

points:1.00

When a pressure switch is rated “in. WC,” what does “in. WC” stand for?

points:1.00

If a flow switch is used to sound an alarm when there is no flow, are NO or NC contacts used to control the alarm?

points:1.00

Module 7 Quiz Questions and Answers

Does the added iron core of an electromagnet increase or decrease the magnetic lines of force?

points:1.00

In an electromagnet, what determines the strength of the magnetic field?

points:1.00

What is the movable part of a solenoid called?

points:1.00

Why are solenoid armatures laminated?

points:1.00

Why is a shading coil added to the armature of a solenoid?

points:1.00

What is the initial current draw of a solenoid called?

points:1.00

What is the operating current of a solenoid called?

points:1.00

What type of valve is used to direct the flow of fluid throughout a fluid power system?

points:1.00

What is a flow path through a valve?

points:1.00

What device is used to reduce transients produced by solenoids?

points:1.00

Upload your completed essay here.

points:1.00

Module 9 Quiz Questions and Answers

Which of the following is not a type of transformer loss?

Resistive Losses

Eddy Current Losses

Flow Current Losses*

Hysteresis Losses

points:1.00

True or False: a control transformer is a transformer that is used to step down the voltage to the control circuit of a system or machine.

True*

False

points:1.00

Which of the following is a type of configuration used to connect three-phase transformers?

Wire

Beta

Primary

Delta*

points:1.00

What year was the first reliable commercial transformer built?

1830

1886*

1902

1919

points:1.00

Define what a transformer is?

points:1.00

Why are transformer iron cores laminated?

points:1.00

Why do control transformers usually have two primary coils?

points:1.00

What do the X markings on a transformer represent?

points:1.00

What do "H" markings on a transformer represent?

points:1.00

Describe the process of checking transformer resistance.

points:1.00

Module 10 Quiz Questions and Answers

What type of switch was first used to start and stop electric motors?

Knife Switches*

Double Break Switches

Motor Switches

Belt Switches

points:1.00

Which of the following is not a stage a motor goes through during normal operating?

Resting

Starting

Stopping*

Operating Under Load

points:1.00

Which of the following is not a consideration when selecting an AC manual starter?

Phasing

Number of Poles

Voltage

Color*

points:1.00

Why are manual contactors not used to control motors?

points:1.00

Why are silver alloy contact better then copper contacts?

points:1.00

Why are mechanical interlocks included on dual-element heating contactors?

points:1.00

Describe the difference between a manual starter and a manual contactor.

points:1.00

What happens to a load that was energized when a two-wire control device is used and power is lost and then reapplied?

points:1.00

Does opening an AC or DC circuit cause the most problems in arc suppression?

points:1.00

Why are chutes used?

points:1.00

Module 11 Quiz Questions and Answers

In a DC motor, what is developed on a wire loop in a magnetic field?

Torque*

Centrifugal Force

Voltage

Amperage

points:1.00

Which of the following is not a part of a DC motor?

Field Windings

Armatures

Cogs*

Brushes

points:1.00

What is the sliding contact that rides against the commutator segments in a DC motor?

Field Windings

Brushes*

Sliders

Armatures

points:1.00

What type of motor only move their shafts in small controlled increments?

Permanent-Magnet Motor

Winding Motor

Stepper Motor*

Stator Motor

points:1.00

What three factors determine the amount of force exerted on a conductor in a magnetic field?

points:1.00

What are the labels of the four wires coming out of a DC series motor?

points:1.00

Which DC motor type has the highest torque but poor speed regulation?

points:1.00

What are the two names used for the rotating part of a stepper motor?

points:1.00

Can there be work if no movement occurs?

points:1.00

What usually wears out first on a DC motor and requires occasional service?

points:1.00

Module 12 Quiz Questions and Answers

True or False: single-phase AC motors are used in residential air conditioners.

True*

False

points:1.00

What type of motor includes a running winding and a starting winding?

Capacitor Motors

Split Phase-Motors*

Shaded-Pole motors

Single-Phase Motor

points:1.00

True or False: overcycling is the process of turning a motor on and off repeatedly.

True*

False

points:1.00

What is the stationary coil of an AC motor called?

points:1.00

Can a shaded-pole motor be reversed?

points:1.00

What does the maximum rated acceleration time of a motor based on?

points:1.00

Which motor insulation class has the highest temperature rating?

points:1.00

Describe the process of troubleshooting a shaded-pole motor.

points:1.00

Describe the process of troubleshooting a capacitor motor.

points:1.00

What is the most likely part of a split-phase motor to fail over time with a properly sized and installed motor?

points:1.00

Module 13 Quiz Questions and Answers

When reversing a DC motor, is the standard to reverse polarity on the armature or on the field?

points:1.00

How does a reversing manual motor starter prevent the motor from being told to operate simultaneously in both directions?

points:1.00

What is the advantage of using a drum switch to reverse a motor instead of a pushbutton-operated manual motor starter?

points:1.00

Why are drum switches not considered motor starters?

points:1.00

How are mechanical interlocks in the wiring diagram shown in the line diagram control circuit?

points:1.00

How do auxiliary contacts prevent a motor from being reversed when the motor is already running in one direction?

points:1.00

How are indicating lights that visually show motor direction added into the control circuit?

points:1.00

What is the usual order in which wire reference numbers are assigned to a control circuit?

points:1.00

What are two disadvantages of using a direct hardwiring method?

points:1.00

Can the power line fuses be checked in the power circuit, even if the control circuit is not working?

points:1.00

Module 14 Quiz Questions and Answers

Is a step-down control transformer required to provide a lower control voltage when a motor drive is used?

points:1.00

What is the typical control voltage level and type (AC or DC) available on most motor drives?

points:1.00

What are the two methods used to set motor control and drive functions in a motor drive?

points:1.00

What do manufacturers call the preset factory motor drive parameter settings?

points:1.00

Can all drive parameters be reprogrammed (changed)?

points:1.00

Where is the overload protection current setting information that is entered into basic parameters of the motor drive found?

points:1.00

What is the function of the converter section of a drive?

points:1.00

What is the function of the inverter section of a drive?

points:1.00

Does increasing the carrier frequency produce more or less voltage spide (transients) at the motor?

points:1.00

When testing the voltage into a drive and at the motor, the voltage between each line should not vary more than what percentage?

points:1.00