ELC-128 Final Exam Questions and Answers

True or False: PLCs are equipped with input/output interfaces and a control programming language.

True*

False

points:1.00

True or False: it is harder to change a program in a PLC than to wire and rewire a circuit.

True

False*

points:1.00

Which of the following is not part of the scan cycle?

Read inputs

Execute program

Update outputs

Delete outputs*

Diagnostics &amp; communication

points:1.00

Which of the following is not an output device?

Motor starters

Solenoid valves

Indicator lights

Motor stoppers*

points:1.00

Which type of control management system involves one PLC controlling one process?

Single-ended*

Multitask

Control management

Single-sided

points:1.00

What is the name of the hardware assembly that houses I/O modules, processor modules, and power supplies?

Logical rack

Chassis*

Processor rack

Module holder

points:1.00

True or False: Discrete output modules are used to turn field output devices either on or off.

True*

False

points:1.00

What numbers are used in the binary system?

1 and 0*

1 and 2

2 and 0

3 and 4

points:1.00

Which numbering system uses both numbers and letters?

Binary

Decimal

Octal

Hexadecimal*

points:1.00

Which of the following is not a logic function?

AND

NOT

OR

STOP*

points:1.00

True or False: hardwired logic is fixed and changeable only by altering the way devices are electrically interconnected?

True*

False

points:1.00

Which of the following is not a part of determining scan time?

Speed

Length

Type

True/False

Open/Closed*

points:1.00

True or False: output branching allows a true logic path to control multiple outputs?

True*

False

points:1.00

True or False: an internal output does directly control an output device?

True

False*

points:1.00

What does MCR stand for in a PLC?

Master Control Rod

Manual Control Reset

Master Control Reset*

Manual Control Rod

points:1.00

The difference between standard and safety PLCSs is that safety PLCs are designed to be _____________ and ___________.

Fault tolerant and fail-safe*

Fault tolerant and fool proof

Fail-safe and automatically energized

Fail-safety and manually operated

points:1.00

What type of contact is shown in the symbols above?

Normally open, timed closed contact*

Normally closed, timed open contact

Normally open, timed open contact

Normally closed, timed closed contact

points:1.00

True or False: another name for an on-delay timer is DOE (delay on energize)

True*

False

points:1.00

Which of the following is not a common PLC timer instruction?

On-delay timer (TON)

Off-delay timer (TOF)

Retentive timer on (RTO)

Retentive timer stop (RTP)*

points:1.00

True or False: accumulated time is the intervals that the timers time out at?

True

False*

points:1.00

True or False: the Enable (EN) bit is true whenever the accumulated value of the timer is changing?

True

False*

points:1.00

True or False: PLC counter instructions do not operate on an internal clock.

True*

False

points:1.00

Up counts are used to count __________

false to true transitions*

true to false transitions

points:1.00

Count-Up (CU) enable bit is true whenever the count-down counter instruction is true?

True

False*

points:1.00

Down-counters will count down or decrement by 1 each time the counted event occurs?

True*

False

points:1.00

True or False: NO (Normally Open) contacts are open when the coil is de-energized and closed when the coil is energized.

True*

False

points:1.00

A contactor is a special type of relay designed to handle what?

Light power loads

Heavy power loads*

Multiple power loads

Multiple power relays

points:1.00

What type of settings do dual in-line packages use?

Hexadecimal

Decimal

Binary*

Octal

points:1.00

Inductive proximity sensors are used to detect what types of metals?

Ferrous only

Nonferrous only

Both ferrous and nonferrous*

No metals

points:1.00

True or False: capacitive proximity sensors can sense both metal and nonmetallic objects.

True*

False

points:1.00

Match the PLC control panel part with it's corresponding letter placement from the picture above.

A - 24 Volt Power Supply

B - Serial Port

C - PLC

D - Master Contactor

E - Terminal Block

F - Wireways

points:1.00

Match the part of the PLC processor module to the letter that indicates it's position in the image above.

A - Status Indicators

B - Mode Selector Switch

C - Ethernet Port

D - Memory Card Receptacle

E - Serial Port

points:1.00

Match the part of the tag name to it's location as indicated by the letter above.

A - Location

B - Slot Number

C - Type

D - Member

E - Bit

points:1.00

Analog I/O modules use a ______________ addressing format?

points:1.00

Explain the difference between nonvolatile and volatile memory?

points:1.00

What is a nested branch?

points:1.00

What type of contact is indicated by the above symbol.

points:1.00

What is run mode of operation used for?

points:1.00

What is a subroutine?

points:1.00

What does a fault subroutine do?

points:1.00

What are mechanical timing relays are used for?

points:1.00

Explain how an normally closed, timed open (NCTO) contact works.

points:1.00

When would you use an on-delay timer?

points:1.00

What is a retentive timer?

points:1.00

What is a cascading timer?

points:1.00

What is an Overflow (OV) bit?

points:1.00

What is an actuator?

points:1.00

Describe the difference between open and closed PLC architecture?

points:1.00